Design Checklist for Quoting Requests

JOB NAME:____________________________  REP NAME:______________________________ CONTACT:______________

________________________________		___________________________	      PH: ______________

|  | Provide a sketch of your system: |  |  |  |  |  |  | # What is the distance from the breeching centerline to the top of the roof? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Plan View |  |  | Elevation View |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (Include centerline dimensions and any special instructions or existing dimensional restrictions) |  |  |  |  |  |  |  | Feet |  |  |  |  |  |  |  |  | Inches |  |  |  |
|  |  |  |  |  |  |  |  | NFPA requires termination to be 3 feet above the roof or 2 feet higher than any portion of the building within 10’. This termination is: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What is your application? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Boiler |  |  | Water Heater |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Kiln |  |  | Exhaust |  |  |  | 3 feet above roof |  |  |  | Other |  |  |  |  |  |  |  |  |  |
|  | Generator |  |  | Grease Duct |  |  |  |  |  |  |  |  |  | Feet |  |  |  |  |  |  | Inches |
|  | Air Rotation Unit |  |  | Coffee Roaster |  |  |  | Termination Type: |  |  |  | Stack Cap, Exit Cone Open Term, other |  |  |  |  |  |  |  |  |  |
|  | Paint Booth |  |  | Dryer Vent |  |  |  | For multiple appliance systems, what is the distance from center of outlet to the next? |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Particle Containment |  |  | Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1st to 2nd |  |  |  |  | Feet |  |  |  |  |  |  | Inches |  |
|  | Is this appliance UL listed to be vented with positive pressure or atmospheric venting? |  |  |  |  |  |  | 2nd to 3rd |  |  |  |  | Feet |  |  |  |  |  |  | Inches |  |
|  |  |  |  |  |  |  |  | 3rd to 4th |  |  |  |  | Feet |  |  |  |  |  |  | Inches |  |
|  | Positive Pressure |  |  | Atmospheric |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | # Product type? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | # What type of Fuel is used? |  |  |  |  |  |  | N-singlewall |  |  |  | VSI (1” air) |  |  |  |  |  |  |  |  |  |
|  | LP gas |  |  | Natural Gas |  |  |  | IVSI-C1 (1” fiber) |  |  |  | IVSI-C2 (2” fiber) |  |  |  |  |  |  |  |  |  |
|  | Oil |  |  | Other |  |  |  | IVSI-C4 (4” fiber) |  |  |  | IVSI-Z3 (grease_zero) |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | IVSI-Z4 (grease_zero) Heat-Fab EZ (single) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | List the following: |  |  |  |  |  |  | Heat-Fab CI+ (1” air) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | BTU Input: |  |  |  |  |  |  | # Material type? |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Boiler HP: |  |  |  |  |  |  | 304 | 304/alz |  |  | 304/304 |  |  |  |  |  |  | 304/316 |  |  |
|  | Appliance Make: |  |  |  |  |  |  | 316 | 316/alz |  |  | 316/304 |  |  |  |  |  |  | 316/316 |  |  |
|  | Model #: |  |  |  |  |  |  | AL29-4C (Heat-Fab) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Spec required clearance to combustibles: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Outlet Location: |  |  |  |  |  |  | For System: |  |  |  |  |  |  |  |  |  |  | Inches |  |  |
|  | Top |  |  | Back |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Other |  |  |  |  |  |  | # Is roof combustible? |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |  |  |  |  |  |  |
|  | Identify the Appliance Outlet: |  |  |  |  |  |  | If “yes”, installation must use Penetration Assembly. Note: Tall Cone Flashing may only be used on noncombustible one-story applications or re-lining masonry chimneys. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Flanged |  |  | Collar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Rectangle |  |  | Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | # Is there a Barometric Damper? |  |  |  |  |  |  | # Is wall combustible? |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Yes |  |  | No |  |  |  | Yes |  |  | No |  |  |  |  | N/A |  |  |  |  |  |
|  | # What is the overall height? |  |  |  |  |  |  | If AMPCO Engineering sizing information is requested, use Sizing Request Form |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (Distance from outlet to termination) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Feet |  |  | Inches |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | # What is the vertical rise dimension? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (From the outlet to the horizontal breeching centerline) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Feet |  |  | Inches |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Answers to these questions will expedite and simplify the design process of your system.

The AMPCO engineering staff has developed thousands of turnkey applications.

Call AMPCO toll free with your specs.

## 800.624.8642

Fax:  616.656.6386 or email Ampco.Quoting@hartcool.com