Date:

Model Number: Serial Number:

Installation Site Name:

Installation Site Address:

Unit Number:

Service Provider: Phone:

**Venting**

PVC/CPVC: Size 4" or 6" Direct Vent or Power Vent:

If Direct Vented are Terminations on the Same Wall?: Yes  No

Horizontal  or Vertical

Intake Number of 90's: Intake Number of 45's: Intake Length of Straight Pipe: (ft)

Exhaust Number of 90's: Exhaust Number of 45's: Exhaust Length of Straight Pipe: (ft)

If Direct Vented Does Intake Pitch Toward Water Heater?: Yes  No

If Yes is Condensate line Installed in Intake?: Yes  No NOTE: Manual Page 26 Figure 17

**Gas**

Line Size & Material: Distance from Meter to Water Heater: (ft)

Static Inlet Pressure: (IWC) Running Inlet Pressure at High Input: (IWC)

Manifold Pressure at High Input: (IWC)

**Electrical**

Supply Line Voltage: (V) Flame Signal Micro-Amps at High Input:

Check Polarity: Yes  No

**Condensate**

Line Size: (Inches) Line Material: Line Length: (ft)

Condensate Pump: Yes  No If Yes , Low Profile?: Yes  No

If No, isPitch Adequate?: Yes  No

Neutralizer Kit: Yes  No

**Water**

Closed System: Yes  No Expansion Tank: Yes  No Expansion Tank Size (gal).

Recirculation Loop: Yes  No Water Treatment System: Yes  No

If water is Treated What Type of System?: Tempering Valve Yes  No

Water Heater Temperature Set Point: (˚F)

**Combustion**

O2 High Input: (%) CO High Input: (ppm)

O2 Low Input: (%) CO Low Input: (ppm)