Date:

Model Number: 		Serial Number:

Installation Site Name:

Installation Site Address:

Unit Number:

Service Provider: 		Phone:

Venting

PVC/CPVC:		Size 4"☐ or 6"☐	 Direct Vent or Power Vent:

If Direct Vented are Terminations on the Same Wall?: Yes  ☐  No☐

Horizontal ☐ or Vertical ☐

Intake Number of 90's: 		Intake Number of 45's: 		Intake Length of Straight Pipe: 	(ft)

Exhaust Number of 90's: 	 Exhaust Number of 45's: 	 	Exhaust Length of Straight Pipe: 	 (ft)

If Direct Vented Does Intake Pitch Toward Water Heater?: Yes  ☐  No☐

If Yes is Condensate line Installed in Intake?: Yes  ☐  No☐   NOTE:  Manual Page 26 Figure 17

Gas

Line Size & Material:  		Distance from Meter to Water Heater:  	 (ft)

Static Inlet Pressure:  	 (IWC)	Running Inlet Pressure at High Input:  	 (IWC)

Manifold Pressure at High Input:  	 (IWC)

Electrical

Supply Line Voltage:  	(V)	Flame Signal Micro-Amps at High Input:

Check Polarity:  Yes  ☐  No☐

Condensate

Line Size:  	 (Inches)	Line Material:  		Line Length:  	 (ft)

Condensate Pump: 	Yes  ☐  No☐	If Yes , Low Profile?:	Yes  ☐  No☐

If No, isPitch Adequate?:	Yes  ☐  No☐

Neutralizer Kit:	Yes  ☐  No☐

Water

Closed System:  Yes  ☐  No☐	Expansion Tank: Yes  ☐  No☐	Expansion Tank Size 	 (gal).

Recirculation Loop:  Yes  ☐  No☐	Water Treatment System:	Yes  ☐  No☐

If water is Treated What Type of System?:  		Tempering Valve Yes ☐  No☐

Water Heater Temperature Set Point:  	 (˚F)

Combustion

O2 High Input:  	 (%)	CO High Input: 	 (ppm)

O2 Low Input:  	 (%)	CO Low Input:  	 (ppm)